## Inventory
Item ID | Item Type | Name | Photo | User Manual | Software Link | Video Link | Description | Location Code | Manufacturer | Model | Replacement Cost | Serial Number | Weight
120 | Energy Efficiency Kits | Advanced Power Logger | #VALUE! | https://dam-assets.fluke.com/s3fs-public/173x____umeng0200_0.pdf?2JZuc3jb6JoHuQ163Haf5bzCdt1HSMvE | https://www.fluke.com/en-ca/support/software-downloads/fluke-energy-analyze-plus | https://youtu.be/0LBo_DklVCE | The Fluke 1738 Power Logger is the ideal electrician or technician's tool for conducting energy studies and basic power quality logging. Set up the 1738/EUS in seconds, with the included flexible current probes and color display. The 1738/EUS logs most electrical power parameters, harmonics and captures voltage events. Key Features & Specifications: Record power and associated parameters for up to 45 days Monitor maximum power demand over user-defined averaging periods Prove the benefit of efficiency improvements with energy consumption tests Measure harmonic distortion caused by electronic loads Improve reliability by capturing voltage dips and swells from load switching Easily confirm instrument setup with color display of waveforms and trends Measure all three phases and neutral with included 4 flexible current probes View graphs and generate reports with included Power Log software | Edmonton | FLUKE | FLK-1738 | 6,357.50 | 44653824 | 1.1kg
121 | Energy Efficiency Kits | Advanced Power Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | FLK-1738 | 6,357.50 | 48183806 | 1.1kg
158 | Multi Channel Loggers | Air/Water/Soil Temperature Probe | #VALUE! | N/A | N/A | N/A | Measure temperature in air, water, or soil with the 6.1m (20 ft) TMC20-HD temperature sensor. This product is designed to be used with HOBO U-Series, UX120-006M external-channel data loggers or ZW series wireless datanodes. This sensor records temperatures between -40° and 50°C (-40° to 122°F) in water or soil, and between -40° and 100°C (-40° to 212°F) in air. This product provides a response time of minutes typical to 90% in air moving 1 m/sec (2.2 mph); and 1 minute typical to 90% response time in stirred water. Please note, accuracy and resolution depend on data logger. | Edmonton | HOBO | TMC6-HD | 64.52 |  | 2 lbs
159 | Multi Channel Loggers | Air/Water/Soil Temperature Probe | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | TMC6-HD | 64.52 |  | 2 lbs
160 | Multi Channel Loggers | Air/Water/Soil Temperature Probe | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | TMC6-HD | 64.52 |  | 2 lbs
161 | Multi Channel Loggers | Air/Water/Soil Temperature Probe | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | TMC6-HD | 64.52 |  | 2 lbs
162 | Multi Channel Loggers | Air/Water/Soil Temperature Probe | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | TMC6-HD | 64.52 |  | 2 lbs
163 | Multi Channel Loggers | Air/Water/Soil Temperature Probe | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | TMC6-HD | 64.52 |  | 2 lbs
164 | Multi Channel Loggers | Air/Water/Soil Temperature Probe | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | TMC6-HD | 64.52 |  | 2 lbs
157 | Multi Channel Loggers | Air/Water/Soil Temperature Probe | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | TMC6-HD | 64.52 |  | 2 lbs
020 | Energy Efficiency Kits | Ballast Discriminator | #VALUE! | N/A | N/A | N/A | Features Display: Green LED for Electronic Ballasts, Orange LED for Magetic Ballasts For Use With: Green LED for Electronic Ballasts, Orange LED for Magetic Ballasts Item: Ballast Discriminator Item Type: Ballast Discriminator Brand: ACUITY SENSOR SWITCH Manufacturer Part Number: BD1 | Edmonton | ACUITY | BD1 | 114.56 |  | 0.32
022 | Energy Efficiency Kits | Ballast Discriminator | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | ACUITY | BD1 | 114.56 |  | 0.32
023 | Energy Efficiency Kits | Ballast Discriminator | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | ACUITY | BD1 | 114.56 |  | 0.32
024 | Energy Efficiency Kits | Ballast Discriminator | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | ACUITY | BD1 | 114.56 |  | 0.32
017 | Energy Efficiency Kits | Ballast Discriminator | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | ACUITY | BD1 | 114.56 |  | 0.32
018 | Energy Efficiency Kits | Ballast Discriminator | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | ACUITY | BD1 | 114.56 |  | 0.32
019 | Energy Efficiency Kits | Ballast Discriminator | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | ACUITY | BD1 | 114.56 |  | 0.32
021 | Energy Efficiency Kits | Ballast Discriminator | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | ACUITY | BD1 | 114.56 |  | 0.32
034 | Energy Efficiency Kits | Bluetooth Temperature and Relative Humidity Data Logger | #VALUE! | https://www.onsetcomp.com/files/manual_pdfs/17840-S%20MX1101%20Manual.pdf https://www.onsetcomp.com/products/software/hoboconnect | N/A | https://youtu.be/_AegTkY0czg | Wireless communication via Bluetooth Low Energy (BLE) technology Easy to deploy and offload using free HOBOmobile App Visual and audible high & low alarm thresholds Stores 84,000 measurements Accuracy: +/- 0.2C and +/- 2%RH Find me/pager feature Patented connectivity technology Operates in an indoor environment Supports the following measurements: Dew Point, Relative Humidity and Temperature | Edmonton | HOBO | MX1101 | 221.28 | 20822000 | 56 g (1.98 oz)
031 | Energy Efficiency Kits | Bluetooth Temperature and Relative Humidity Data Logger | #VALUE! | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | MX1101 | 221.28 | 20807214 | 56 g (1.98 oz)
032 | Energy Efficiency Kits | Bluetooth Temperature and Relative Humidity Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | MX1101 | 221.28 | 20821995 | 56 g (1.98 oz)
030 | Energy Efficiency Kits | Bluetooth Temperature and Relative Humidity Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | MX1101 | 221.28 | 20821999 | 56 g (1.98 oz)
035 | Energy Efficiency Kits | Bluetooth Temperature and Relative Humidity Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | MX1101 | 221.28 | 20822001 | 56 g (1.98 oz)
036 | Energy Efficiency Kits | Bluetooth Temperature and Relative Humidity Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | MX1101 | 221.28 | 20816002 | 56 g (1.98 oz)
037 | Energy Efficiency Kits | Bluetooth Temperature and Relative Humidity Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | MX1101 | 221.28 | 20789497 | 56 g (1.98 oz)
033 | Energy Efficiency Kits | Bluetooth Temperature and Relative Humidity Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | MX1101 | 221.28 | 20822002 | 56 g (1.98 oz)
117 | Energy Efficiency Kits | Combustion and Emissions Analyzer | #VALUE! | https://www.mybacharach.com/wp-content/uploads/2020/06/pca400-man-0024-9551-en-2.pdf https://myturn-prod-attachments.s3.amazonaws.com/0/1760/item/---/file_attachment/BAC-PCA%20400%20Quick%20Start%20Guide-CD4DE27A-ABDF-0D20-8863-A9A07B17A7FB.pdf | https://www.mybacharach.com/product/pca-400-combustion-emissions-analyzer/ | https://youtu.be/rscF-vDfzbg | Features: 4.3 inch color touch screen with enhanced viewing options to easily see readings Bluetooth wireless technology allows for live streaming of data to any phone, PC or tablet Rugged all-in-one probe connection for durability and easy setup Optional NOx and SO2 sensors with Viton probe tubing for emissions testing Dilution mode protects sensors and allows for use in harsh conditions Runs on rechargeable Lithium-Ion battery pack or 4 ‘AA’ batteries Bacharach’s PCA 400 offers everything you and your technicians need to commission, tune, maintain and certify any boiler. It is perfect for spot-checking and tuning your engines with the high-range CO sensor and available sample conditioner. Whether it's boiler combustion or emissions testing of your natural gas, stationary genset or mobile fleet vehicles, monitoring your emissions is fast, easy and accurate. Users have the option to save measured data in the unit as discreet tests, or stream it live via Bluetooth communications to a PC or other smart hand-held device for compliance reporting. Reports are easily and quickly generated to satisfy compliance requirements. Interchangeable power options (rechargeable Li-Ion, ‘AA’ alkalines or line power) ensure the unit is always ready for use. Probes and hoses come in a variety of lengths and materials to satisfy a wide range of applications, including NOx, SO2 and other requirements. Automatic sensor protection not only guards the sensors from damage, but doubles their measurement range under high load conditions for increased flexibility. *Note: The PCA 400 calculates CO2 value based upon other measured values during the combustion process. It does not measure CO2 directly. | Edmonton | Bacharach | BAC-PCA400 | 5,514.22 | 20043007 | 1.5 lb. (0.68 kg)
114 | Energy Efficiency Kits | Combustion and Emissions Analyzer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Bacharach | BAC-PCA400 | 5,514.22 | 20043005 | 1.5 lb. (0.68 kg)
115 | Energy Efficiency Kits | Combustion and Emissions Analyzer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Bacharach | BAC-PCA400 | 5,514.22 | 20043006 | 1.5 lb. (0.68 kg)
116 | Energy Efficiency Kits | Combustion and Emissions Analyzer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Bacharach | BAC-PCA400 | 5,514.22 | 20043008 | 1.5 lb. (0.68 kg)
055 | Multi Channel Loggers | Data Logger | #VALUE! | https://www.onsetcomp.com/files/manual_pdfs/17384-E%20UX120-006M%20Manual.pdf | https://www.onsetcomp.com/hoboware-free-download | https://youtu.be/5A0h4N892mE | Supports up to four external sensors for measuring temperature, current, CO2, voltage and more. LCD confirms logger operation and displays near real-time measurement data, and on-screen alarms notify you when a sensor reading exceeds set thresholds. Multi-channel data logger measures and records real time power consumption, analyze electrical loads, amperage, demand control, harmonics and transient. Features · Flexible support for a wide range of external sensors · LCD confirms logger operation and displays near real-time measurement data · Provides minimum, maximum, average and standard deviation logging options · On-screen alarms notify you when a sensor reading exceeds set thresholds · Stores 1.9 million measurements for longer deployments between offloads Applications · Energy audits · Building commissioning studies · Equipment scheduling Supported Measurements · 4-20mA · AC Current · AC Voltage · Air Velocity · Carbon Dioxide · Compressed Air Flow · DC Current · DC Voltage · Gauge Pressure · Kilowatts (kW) · Temperature · Volatile Organic Comp. | Edmonton | HOBO | UX120-006M | 230.11 | 20796203 | 2 lbs
056 | Multi Channel Loggers | Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX120-006M | 230.11 | 20814446 | 2 lbs
057 | Multi Channel Loggers | Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX120-006M | 230.11 | 20814447 | 2 lbs
058 | Multi Channel Loggers | Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX120-006M | 230.11 | 20814448 | 2 lbs
059 | Multi Channel Loggers | Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX120-006M | 230.11 | 20814046 | 2 lbs
054 | Multi Channel Loggers | Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX120-006M | 230.11 | 20814449 | 2 lbs
060 | Multi Channel Loggers | Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX120-006M | 230.11 | 20811296 | 2 lbs
061 | Multi Channel Loggers | Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX120-006M | 230.11 | 20811295 | 2 lbs
025 | Energy Efficiency Kits | Digital Camera | #VALUE! | https://gdlp01.c-wss.com/gds/2/0300022092/01/elph360hs-ixus285hs-cu-en.pdf | N/A | N/A | Canon HS system features a 20.2MP high-sensitivity CMOS (back illuminated) sensor and powerful DIGIC 4+ image processor for high-quality stills and video Captures images at 7.2fps and Full HD 1080p video at 30fps 12x optical zoom (25-300mm) offers shooting versatility getting you closer to the action Intelligent IS (image stabilization) minimizes blur by applying the ideal shake correction for the shooting situation, including Normal IS, Panning IS, Macro (Hybrid) IS, and Tripod modes for stills; and Dynamic IS, Powered IS, Macro (Hybrid) IS, and Active Tripod IS modes for video Built-in WiFi and NFC offers easy sharing and transferring of images and videos to your compatible mobile device 3.0-inch LCD with 461k dots offers easy viewing during shooting and playback Hybrid Auto feature records up to four seconds of video before each image captured, then combines each clip and still into a video recap of the day Story Highlights in-camera feature compiles images and videos from a certain day or event into a mini highlight reel with music and effects Creative Shot mode creates 5 additional images with any of 46 in-camera filters applied for unique images with artistic flair | Edmonton | CANON | Powershot ELPH 360 | 277.77 | 922064001543 | 147 g
087 | Tachometers | Digital Tachometer | #VALUE! | https://www.mtpinc.com/Files/MTP-AT-8E.pdf | N/A | N/A | Digital tachometer provides fast and accurate contact and non-contact RPM and surface speed measurements of rotationg objects Measurement type: rotation speed (RPM, rPm), total revolution (REV), frequencey (Hz), surface speed (M/M, I/M, F/M, Y/M) AND LENGTH (M,IN, ft, yD) Wide measure range and high resolution High visible digital LCD and backlight display 40 reading memories Laser sighting | Edmonton | MTP | AT8 |  | 191107853
086 | Tachometers | Digital Tachometer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | AT8 |  | 191107832
088 | Tachometers | Digital Tachometer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | AT8 |  | 191107839
089 | Tachometers | Digital Tachometer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | AT8 |  | 191107822
183 | Energy Efficiency Kits | Energy Efficiency Toolbox | #VALUE! | http://www.riorand.com/home-improvement/plug-socket/riorand-plug-power-energy-watt-voltage-amps-meter-with-electricity-usage-monitor-white.html https://drmeter.com/products/digital-lux-meter-digital-illuminance-light-meter-lx1010b-dr-meter https://inkbird.en.alibaba.com/product/60796839848-803829814/Inkbird_THC_4_usb_data_logger_for_warehousing.html https://www.amazon.ca/Belkin-F7C016q-Conserve-Power-Switch/dp/B005MYN3OO https://www.scangauge.com/products/scangauge-e/ https://flir.netx.net/file/asset/11379/original https://flir.netx.net/file/asset/11351/original https://myturn-prod-attachments.s3.amazonaws.com/0/1760/item/576410/file_attachment/MCCAC%20-%20Tool%20Lending%20Library%20-%20Energy%20Efficiency%20Toolbox%20Manual-2021-EC49C066-7E77-766B-190C-44985831F3B7.pdf | N/A | N/A | The Energy Efficiency Toolbox contains several tools and items which will provide information on different energy consuming areas. Take the time to learn about each tool in the box including how to use it and how to interpret the resulting data. Note: Using the Energy Efficiency Toolbox is not a replacement for undergoing a professional energy audit. Energy audits are conducted by trained professionals using a much wider range of tools to gather highly specific results and recommendations on energy usage and cost reduction measures. The Energy Efficiency Toolbox is simply a hands-on approach for municipalities and their residents to help learn first-hand where opportunities exist every day to conserve energy. After exploring the contents of the Energy Efficiency Toolbox and gaining a better understanding of the major areas of energy consumption in your buildings, you may come to the conclusion that you would like to explore options for a full professional building energy audit and possible building energy retrofits to help save money and reduce emissions. You may wish to undergo a professional energy audit after completing your own study or take advantage of additional tools through the Action Centre Tool Lending Library. Note: The Action Centre is not responsible for any damage to self, others, or property due to the inappropriate use of the equipment in the Energy Efficiency Toolbox. Take the time to carefully read directions in this manual as well as further detailed instructions in the accompanying operating manuals before using any piece of equipment. Always use caution when interacting with electrical systems. | Edmonton
184 | Energy Efficiency Kits | Energy Efficiency Toolbox | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton
099 | Energy Efficiency Kits | Hot Wire Anemometer with Air Flow Measurements | #VALUE! | https://www.mtpinc.com/Files/MTP_2020_Hot-Wire-Anemometer.pdf | N/A | https://youtu.be/wKcKnSqfq44 | Microprocessor circuit, assures maximum possible accuracy Especially designed for very low air velocity measurements Combination of hot wire and standard thermistor Multi-functions for air flow measurements Measures the air velocity in m/s, km/h, ft/min, MPH, Knots Thermistor sensor for temperature measurements Super large LCD with dual function meter’s display, read the air velocity & temp. at the same time. Records max/min readings with recall & data hold Data Hold function Durable, long-lasting components, including a strong, light weight ABS-plastic housing case. | Edmonton | MTP | 2020 | 454.11 | 191107686 | 280 g
094 | Energy Efficiency Kits | Hot Wire Anemometer with Air Flow Measurements | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | 2020 | 454.11 | 191107685 | 280 g
095 | Energy Efficiency Kits | Hot Wire Anemometer with Air Flow Measurements | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | 2020 | 454.11 | 191107693 | 280 g
096 | Energy Efficiency Kits | Hot Wire Anemometer with Air Flow Measurements | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | 2020 | 454.11 | 191107692 | 280 g
097 | Energy Efficiency Kits | Hot Wire Anemometer with Air Flow Measurements | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | 2020 | 454.11 | 191107689 | 280 g
098 | Energy Efficiency Kits | Hot Wire Anemometer with Air Flow Measurements | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | 2020 | 454.11 | 191107687 | 280 g
062 | Energy Efficiency Kits | Infrared Thermometer | #VALUE! | https://dam-assets.fluke.com/s3fs-public/59max___umeng0000.pdf https://myturn-prod-attachments.s3.amazonaws.com/0/1760/item/---/file_attachment/59max%20%2B%20manual-D29B1188-0315-7F40-BC8F-4F7F512DCB2C.pdf | N/A | N/A | Easy to handle infrared thermometer with precise laser targeting and 10:1 distance to spot ratio Measures temperatures from -30°C to 500°C (-22°F to 932°F) Provides IP40 rating for extra protection Presents a large, backlit LCD display for easy viewing Features a small, lightweight design that fits easily fits into your tool bag | Edmonton | FLUKE | 59 MAX+ | 112.00 | 48764093MV | 220 g (7.76 oz)
064 | Energy Efficiency Kits | Infrared Thermometer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 59 MAX+ | 112.00 | 48764098MV | 220 g (7.76 oz)
065 | Energy Efficiency Kits | Infrared Thermometer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 59 MAX+ | 112.00 | 48902501MV | 220 g (7.76 oz)
066 | Energy Efficiency Kits | Infrared Thermometer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 59 MAX+ | 112.00 | 48764095MV | 220 g (7.76 oz)
067 | Energy Efficiency Kits | Infrared Thermometer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 59 MAX+ | 112.00 | 48764096MV | 220 g (7.76 oz)
068 | Energy Efficiency Kits | Infrared Thermometer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 59 MAX+ | 112.00 | 48764094MV | 220 g (7.76 oz)
069 | Energy Efficiency Kits | Infrared Thermometer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 59 MAX+ | 112.00 | 48902502MV | 220 g (7.76 oz)
063 | Energy Efficiency Kits | Infrared Thermometer | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 59 MAX+ | 112.00 | 063 | 220 g (7.76 oz)
125 | Multi Channel Loggers | Input Sensor Connector | #VALUE! | https://www.itm.com/pdfs/cache/www.itm.com/cable-4-20ma/datasheet/cable-4-20ma-datasheet.pdf | N/A | N/A | Cable for connecting a sensor with a 4-20mA output to U12 and UX120 series to expand the range of measurement options and applications. Plug directly into the external jacks of the data logger. | Edmonton | HOBO | CABLE-4-20MA | 230.11 |  | 2 lbs
130 | Multi Channel Loggers | Input Sensor Connector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-4-20MA | 230.11 |  | 2 lbs
131 | Multi Channel Loggers | Input Sensor Connector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-4-20MA | 230.11 |  | 2 lbs
132 | Multi Channel Loggers | Input Sensor Connector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-4-20MA | 230.11 |  | 2 lbs
128 | Multi Channel Loggers | Input Sensor Connector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-4-20MA | 230.11 |  | 2 lbs
126 | Multi Channel Loggers | Input Sensor Connector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-4-20MA | 230.11 |  | 2 lbs
127 | Multi Channel Loggers | Input Sensor Connector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-4-20MA | 230.11 |  | 2 lbs
129 | Multi Channel Loggers | Input Sensor Connector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-4-20MA | 230.11 |  | 2 lbs
009 | Energy Efficiency Kits | Light Meter | #VALUE! | https://www.mtpinc.com/Files/MTP_1210_Manual_EN_2018.pdf https://myturn-prod-attachments.s3.amazonaws.com/0/1760/item/---/file_attachment/MTP_1210_Manual_EN_2018-CCE08EF6-A144-4026-3B87-DBC9E6029FC5.pdf | N/A | N/A | MTP-1210 Light Meter meets CIE photopic spectral response. It is fully cosine corrected for the angular incidence of light. The illuminance meter is compact, tough and easy to handle owing to its construction. The light sensitive component used in the meter is a very stable, long-life silicon photo diode and spectral response filter. features: Light-measuring levels ranging form from: 0.01lux~0.1klux/0.01fc~0.01kfc,repeatedly. High accuracy and fast response. Data-hold function for holding measuring values. Unit and sign display for easy reading. Automatic zeroing. Meter corrected for spectral relative efficiency. Correction factor does not need to be manually calculated for non-standard light sources. Short rise and fall times. Peak-hold function for tracing the peak signal of light pulse with least duration 10μs and keep it. Capable of selecting measuring mode in lux or fc scale alternatively. Auto power off 30 minutes. Maximum and minimum measurements. Relative reading & Reset function. Easy to read large backlit display specifications: Display : 3-3/4 digit LCD with high speed 42 segment bargraph. Measuring Range: 40.00 lux,400.0 lux,4000 lux,40.00 Klux and 300.0 klux /40.00 fc,400.0 fc,4000 fc,30.00 kfc. NOTE: 1fc=10.76lux, 1Klux=1000lux,1Kfc=1000fc Overrange Display: LCD will show “OL” symbol. Spectral Response: CIE Photopic. (CIE human eye response curve). Spectral Accuracy: CIE Vλ function f1’≦6% Cosine Response: f2’ ≦2% Accuracy: ±5% rdg±0.5% f.s. Repeatability: ±3% Sampling Rate: 13.3 times/sec of analog bar-graph indication; 1.3times/sec of digital display. Photo Detector: One silicon photo diode and spectral response filter. Operating temperature & Humidity: 0℃ to 40℃ (32℉to 104℉) & 0% to 80% RH. Storage Temperature & Humidity: -10℃ to 50℃ (14℉ to 140℉) & 0% to 70% RH. Power Source: 1 piece 9V battery. Photo detector Lead Length: 150cm (approx.); Photo detector Dimensions: 115L×60W×20H(mm); Meter Dimensions: 170L x 80W x 45 H Weight: 390g. Accessories: Carry case, instruction manual, battery. | Edmonton | MTP | MTP 1210 | 92.81 | 181129655 | 390g
010 | Energy Efficiency Kits | Light Meter | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1210 | 92.81 | 181129678 | 390g
011 | Energy Efficiency Kits | Light Meter | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1210 | 92.81 | 181129684 | 390g
012 | Energy Efficiency Kits | Light Meter | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1210 | 92.81 | 181129683 | 390g
013 | Energy Efficiency Kits | Light Meter | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1210 | 92.81 | 181129658 | 390g
014 | Energy Efficiency Kits | Light Meter | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1210 | 92.81 | 181129659 | 390g
015 | Energy Efficiency Kits | Light Meter | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1210 | 92.81 | 181129674 | 390g
016 | Energy Efficiency Kits | Light Meter | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1210 | 92.81 | 181129669 | 390g
178 | Energy Efficiency Kits | Mobile Storage | #VALUE! | N/A | N/A | N/A | DEWALT Tough Chest Mobile Storage introduces steel top rails for top loading. Tool boxes, saw horses, and other items can be secured to the top of the Tough Chest Mobile Storage with bungee cords. It features heavy-duty 8” rubber wheels for maneuverability over the rough jobsite terrain and includes a water seal and durable, corrosion resistant metal latches. Tough Chest Mobile Storage delivers 154 pounds of load capacity and 63 gallon useful volume. FEATURES Telescopic, Metal Pull Handle for easy maneuvering Heavy-Duty Wheels for easy steering on job-site Water-Seal Ring to help protect tools from water damage Built-in Support on Lid for additional top loading | Edmonton | DeWALT | DWST38000 | 126.00 |  | 15 Kg
179 | Energy Efficiency Kits | Mobile Storage | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | DeWALT | DWST38000 | 126.00
180 | Energy Efficiency Kits | Mobile Storage | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | DeWALT | DWST38000 | 126.00
181 | Energy Efficiency Kits | Mobile Storage | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | DeWALT | DWST38000 | 126.00
182 | Energy Efficiency Kits | Mobile Storage | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | DeWALT | DWST38000 | 126.00
177 | Energy Efficiency Kits | Mobile Storage | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | DeWALT | DWST38000 | 126.00
038 | Energy Efficiency Kits | Motor On/Off Data Logger | #VALUE! | https://www.onsetcomp.com/files/manual_pdfs/15432-F%20UX90-004%20Manual.pdf https://myturn-prod-attachments.s3.amazonaws.com/0/1760/item/---/file_attachment/UX90-004-AC0AA9E2-2DA1-713D-E806-2D904EAEB513.pdf | https://www.onsetcomp.com/hoboware-free-download | https://youtu.be/PaYMvIV8IBU | HOBO Data Loggers UX90-004 Offers HOBO data loggers requires HOBOware software (USB interface cable included w/CD purchase) and a communications device. With dual internal motor sensors it gives better sensitivity results for well shielded motors. Features External input for measuring mechanical contact closures when signal strength is low Auto-calibration of ON and OFF thresholds ensures reliable readings Supported Measurements Motor On/Off Runtime State Open/Closed | Edmonton | HOBO | UX90-004 | 152.69 | 20836719 | 0.1 lbs
039 | Energy Efficiency Kits | Motor On/Off Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-004 | 152.69 | 20836714 | 0.1 lbs
040 | Energy Efficiency Kits | Motor On/Off Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-004 | 152.69 | 20836720 | 0.1 lbs
041 | Energy Efficiency Kits | Motor On/Off Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-004 | 152.69 | 20836716 | 0.1 lbs
042 | Energy Efficiency Kits | Motor On/Off Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-004 | 152.69 | 20836718 | 0.1 lbs
043 | Energy Efficiency Kits | Motor On/Off Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-004 | 152.69 | 20836721 | 0.1 lbs
044 | Energy Efficiency Kits | Motor On/Off Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-004 | 152.69 | 20836715 | 0.1 lbs
045 | Energy Efficiency Kits | Motor On/Off Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-004 | 152.69 | 20836717 | 0.1 lbs
070 | Energy Efficiency Kits | Multimeter with Non-Contact Voltage | #VALUE! | https://dam-assets.fluke.com/s3fs-public/110__117umeng0000_0.pdf?kuO8Q80mS6nSqKkZOd2JFMEnAStiGspq https://myturn-prod-attachments.s3.amazonaws.com/0/1760/item/---/file_attachment/Fluke%20117%20Manual-30E64A9F-4A11-24E3-3CB3-45E820FE9215.pdf | N/A | N/A | The Fluke 117 is the ideal meter for demanding settings like commercial buildings, hospitals and schools. The 117 includes integrated non-contact voltage detection to help get the job done faster. The AutoV/LoZ function prevents false readings caused by ghost voltage. The Fluke 117 delivers true-rms ac voltage and current readings with 6000-count resolution. It provides Min/Max/Average readings and measures frequency and capacitance. The battery door is easy to access, so you and your Fluke 117 can stay on the job. VoltAlert technology for non-contact voltage detection AutoVolt automatic ac/dc voltage selection Low input impedance: helps prevent false readings due to ghost voltage Large white LED backlight to work in poorly lit areas True-rms for accurate measurements on non-linear loads Measures 10 A (20 A overload for 30-seconds) Resistance, continuity, frequency and capacitance Min/Max/Average with elapsed time to record signal fluctuations Compact ergonomic design for one-handed operation Compatible with optional magnetic hanger (ToolPak) for hands free operation CAT III 600 V safety rated Applications Industrial, Maintenance & Repair, Test & Measurement | Edmonton | FLUKE | 117 | 229.30 | 47900083SV | 550 g
071 | Energy Efficiency Kits | Multimeter with Non-Contact Voltage | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 117 | 229.30 | 47900102SV | 550 g
072 | Energy Efficiency Kits | Multimeter with Non-Contact Voltage | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 117 | 229.30 | 47900084SV | 550 g
075 | Energy Efficiency Kits | Multimeter with Non-Contact Voltage | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 117 | 229.30 | 47900081SV | 550 g
076 | Energy Efficiency Kits | Multimeter with Non-Contact Voltage | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 117 | 229.30 | 47900085SV | 550 g
073 | Energy Efficiency Kits | Multimeter with Non-Contact Voltage | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 117 | 229.30 | 47900067SV | 550 g
074 | Energy Efficiency Kits | Multimeter with Non-Contact Voltage | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 117 | 229.30 | 47900101SV | 550 g
077 | Energy Efficiency Kits | Multimeter with Non-Contact Voltage | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | 117 | 229.30 | 47900082SV | 550 g
046 | Energy Efficiency Kits | Occupancy/Light Data Logger | #VALUE! | https://www.onsetcomp.com/files/manual_pdfs/15433-H%20UX90-005%26006%20Manual.pdf https://myturn-prod-attachments.s3.amazonaws.com/0/1760/item/---/file_attachment/UX90-006%20Manual-99BBAD15-0451-796B-1A26-888C3987FADC.pdf | https://www.onsetcomp.com/hoboware-free-download | https://youtu.be/hfjpbOEUKh0 | Requires HOBOware Software Measures room occupancy up to 12 meters away Auto-calibration of ON and OFF thresholds ensures reliable readings LCD screen displays signal strength, enabling proper logger placement Highly recommended light pipe accessory eliminates effects of ambient light to ensure the most accurate readings. | Edmonton | HOBO | UX90-006 | 338.71 | 20805569 | 30 g (1.06 oz)
048 | Energy Efficiency Kits | Occupancy/Light Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-006 | 338.71 | 20805574 | 30 g (1.06 oz)
050 | Energy Efficiency Kits | Occupancy/Light Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-006 | 338.71 | 2085573 | 30 g (1.06 oz)
051 | Energy Efficiency Kits | Occupancy/Light Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-006 | 338.71 | 2085567 | 30 g (1.06 oz)
049 | Energy Efficiency Kits | Occupancy/Light Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-006 | 338.71 | 20805570 | 30 g (1.06 oz)
052 | Energy Efficiency Kits | Occupancy/Light Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-006 | 338.71 | 2085572 | 30 g (1.06 oz)
047 | Energy Efficiency Kits | Occupancy/Light Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-006 | 338.71 | 20805568 | 30 g (1.06 oz)
053 | Energy Efficiency Kits | Occupancy/Light Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX90-006 | 338.71 | 2085571 | 30 g (1.06 oz)
185 | Multi Channel Loggers | Plug Load Data Logger | #VALUE! | https://www.onsetcomp.com/files/manual_pdfs/17838-E%20MAN-UX120-018.pdf https://myturn-prod-attachments.s3-us-west-2.amazonaws.com/0/1760/item/583823/file_attachment/ux120-018-datasheet-6C224C79-BD80-1605-CF2F-6446A7E13038.pdf | https://www.onsetcomp.com/hoboware-free-download | https://youtu.be/VePNl6vvCSQ | The UX120-018 logger is intended for use on 15 AMP circuits (NEMA 5-15P) with a working voltage of 120V AC ±10% at 50/60Hz and a max power of 1800W. Indoor use only. Insulation Category 2. Features No wiring Multiple load Characterize load Quick look tool 0.5% measurement accuracy enables more reliable plug load energy data "Meter Mode" provides instant viewing of real-time plug load variables Provides time-stamped and totalized load data for detailed energy analysis Large memory enables faster logging intervals for more comprehensive plug load profiles Battery back-up ensures logged data remains intact in the event of a power outage or load failure Full-featured LCD display provides visual diagnostics for easy deployment Applications Building audits Supported Measurements AC Current AC Voltage Amps (A) Kilowatt Hours (kWh) Power Factor (PF) Volt-Amps (VA) Volts (V) Watt Hours (Wh) Watts (W) HOBOware With the latest version of software (HOBOware 3.7.8), Optic Base Station and Waterproof Shuttle users will find much-improved communications methods. For Mac users - Updating to apple's latest operating system (OS X 10.11.5) will remedy any communications issues you might have encountered with the HOBO U30 Weather Station and the Waterproof Shuttle. HOBOmobile HOBOmobile 1.5 for iOS can now push data to HOBOlink.com for free online data storage. | Edmonton | HOBO | UX120-018 | 336.00 | 20901899 | 2 lbs
186 | Multi Channel Loggers | Plug Load Data Logger | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | UX120-018 | 336.00 | 20901907 | 2 lbs
118 | Energy Efficiency Kits | Portable Pressure Calibrator | #VALUE! | https://www.mensor.com/upload/OI_CPG2300_en_um_30463.pdf https://myturn-prod-attachments.s3.amazonaws.com/0/1760/item/---/file_attachment/mensor-portable-barometer-cpg2300-manual-765122A5-FB19-2BF9-124B-F74D1ECF847A.pdf | N/A | N/A | The Mensor CPG2300 is a portable pressure calibrator that can display simultaneously one or two independent precision pressure sensors. Channel A can range up to 6000 psi and Channel B can be ordered with ranges from 3 to 1000 psig or 7.5 to 1000 psia. | Edmonton | Mensor | CPG2300 | 4,412.48 | 4100117C/641290 2005 | 1.5 lb. (0.68 kg)
119 | Energy Efficiency Kits | Portable Pressure Calibrator | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Mensor | CPG2300 | 4,412.48 | 4100117B/641289 2005 | 1.5 lb. (0.68 kg)
122 | Airflow Meters | Power Quality Analyzer | #VALUE! | https://www.powersight.com/FILES/MANUALS/PS4500-53Manual.pdf | https://powersight.com/products/PSM-A-Software/ | N/A | The PowerSight PS4550 Power Quality Analyzer is a versatile, easy-to-use power quality analyzer that is ideal for comprehensive power quality studies, energy audits, load studies, harmonic analysis, and more. The PS4550 couples small size with sophisticated triggering and event capture to answer your power quality questions. Combined with our PowerSight Manager software (PSM-A) and our extensive collection of measurement accessories, the PS4550 forms the PowerSight “Start-To-End Monitoring Solution,” providing the Most Efficient and Error Free Solution for doing Power Studies | Edmonton | PowerSight | PS4550 |  | 04222
187 | Solar Tools | Solar module | #VALUE! | N/A | N/A | N/A | Solar module for display at the Royal Alberta Museum |  | CanadianSolar Mode | CS6P-255P | 250.00 |  | 44.1 lbs
027 | Energy Efficiency Kits | Solar PV Analyzer with Shade Tool | #VALUE! | http://resources.solmetric.com/get/Solmetric%20SunEye%20200%20Series%20Users%20Guide_en_2016.pdf https://myturn-prod-attachments.s3.amazonaws.com/0/1760/item/---/file_attachment/Solmetric%20SunEye%20200%20Series%20Users%20Guide_en_2016-81935136-B8FA-01E1-13C2-5B8A5477DE9B.pdf | https://www.solmetric.com/downloads-suneye.html | https://youtu.be/JDgtYEQLdxw | SunEye-210 is the world-leading shade measurement tool for solar site assessment. This hand-held electronic tool measures the available solar energy by day, month, and year with the press of a button by determining the shading patterns of a particular site. Digital camera with calibrated fisheye lens Electronic Inclinometer Electronic Compass Single-Handed Operation Rugged, Comfortable Design Worldwide weather data Integrated GPS Edit mode to add or remove shading obstructions Data views: Annual sunpath, monthly solar access, obstruction elevation Live Survey Mode - View Annual Sunpaths live as you scan the site | Edmonton | Solmetric | SunEye 210 | 3,102.63 | 28454 | 2.72 Kg
028 | Energy Efficiency Kits | Solar PV Analyzer with Shade Tool | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Solmetric | SunEye 210 | 3,102.63 | 28455 | 2.72 Kg
029 | Energy Efficiency Kits | Solar PV Analyzer with Shade Tool | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Solmetric | SunEye 210 | 3,102.63 | 28453 | 2.72 Kg
091 | Energy Efficiency Kits | Stroboscope | #VALUE! | https://dam-assets.fluke.com/s3fs-public/820-2___umeng0000.pdf | N/A | N/A | Investigate and observe potential mechanism failure with confidence Identifying the running speed of rotating equipment can be difficult, but the Fluke 820-2 LED Stroboscope simplifies the process allowing you to perform stop motion diagnostics without actually stopping, or making contact, with the machine you are working on. Whether you are trying to diagnose parasitic oscillations, slippage, or unwanted distortions, the 820-2 LED Stroboscope is the ideal frontline troubleshooting, process or product research and development tool. Other useful features: Includes digital pulse width modulation for exceptionally sharp images at high speeds Provides rugged, durable design that uses solid-state LEDs with no filaments, gases, hollow cavities, or glass; (1 meter drop tested) Features quartz-accuracy control system for high accuracy–0.02% (+/- 1 digit) Provides a multi-line LCD display Includes advance or retard flash timing for viewing gear teeth, cutting surfaces, repeats, or drifting equipment Features simple push button operation with 2x and ÷2 buttons for easy adjustment | Edmonton | Fluke | 820-2 |  | 820
093 | Energy Efficiency Kits | Stroboscope | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Fluke | 820-2 |  | 820
090 | Energy Efficiency Kits | Stroboscope | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Fluke | 820-2 |  | 820
092 | Energy Efficiency Kits | Stroboscope | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Fluke | 820-2 |  | 820
170 | Energy Efficiency Kits | Thermal Imager | #VALUE! | https://www.mtpinc.com/Files/MTP_1321i_Thermal_Imager_Manual_EN.pdf https://myturn-prod-attachments.s3.amazonaws.com/0/1760/item/---/file_attachment/MTP%201321i%20Thermal%20Imager%20EN-1D1023A1-5BB1-74C2-9A81-F084FBCEED5E.pdf | N/A | N/A | This MTP 1321i Visual IR Thermometer displays a low-resolution thermal image for temperatures up to 300°C. Recommended for maintenance and troubleshooting of electrical circuits or bearings. MTP 1321I FEATURES: Temperature Measurement Range: -20°C to 300°C Palettes: Hot Metal, Ironbow, Rainbow, Rainbow High Contrast, Grayscale (white hot) and Grayscale (black hot) 2.2’’ 320x240 TFT LCD display IR temperature measurement with resolution 32*31 pixels Image capture frequency 9Hz Thermal sensitivity (NETD) ≤150mK Hot spot and cold spot tracking Visual camera & images capture (BMP) Micro SD memory card Date/time setup controls Adjustable emissivity Trigger lock Li-ion rechargeable battery USB interface for charge MTP 1321I SPECIFICATIONS: TEMPERATURE Temperature Measurement Range -20°C to 300°C Temperature Measurement Accuracy ±2% ±2°C as tested (at 25°C) On-Screen Emissivity Correction On-Screen Reflected Background Temperature Temperature Compensation IMAGE PERFORMANCE Image Capture Frequency: 9Hz Uncooled pyroelectric ceramic detector type Thermal Sensitivity (NETD) ≤150mK Infrared Spectral Band 6.5µm to 14µm Visual Camera 48608 pixels Field of View 38° x 38° Focus Mechanism Fixed Focus IMAGE PRESENTATION Level and Span Auto Parallax Correction of Visual and IR Blending 0.5m, 1.0m, 2.0m, 3.0m View Options Blending of the visual and the infrared from full infrared to full visual in 25% steps Hot Spot and Cold Spot Tracking Yes Image available for review before save Storage Medium Micro SD memory card, stores up to 6,000 images/GB Memory Review Scroll through all saved images and view on-screen GENERAL SPECIFICATIONS: Operating Temperature 0°C to 50°C Storage Temperature -20°C to 60°C Relative Humidity 10% to 90% non-condensing Display 2.2 in diagonal 320*240TFT LCD | Edmonton | MTP | MTP 1321i | 577.02 | 200529974
172 | Energy Efficiency Kits | Thermal Imager | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1321i | 577.02 | 200216425
171 | Energy Efficiency Kits | Thermal Imager | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1321i | 577.02 | 200529972
169 | Energy Efficiency Kits | Thermal Imager | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1321i | 577.02 | 200529978
173 | Energy Efficiency Kits | Thermal Imager | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1321i | 577.02 | 200529971
174 | Energy Efficiency Kits | Thermal Imager | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1321i | 577.02 | 200529975
175 | Energy Efficiency Kits | Thermal Imager | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1321i | 577.02 | 200216424
176 | Energy Efficiency Kits | Thermal Imager | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | MTP | MTP 1321i | 577.02 | 200529973
110 | Energy Efficiency Kits | Ultrasonic Flowmeter | #VALUE! | https://www.coulton.com/res/hand_held_doppler_ufx_manual_01_11_sp.pdf https://myturn-prod-attachments.s3.amazonaws.com/0/1760/item/---/file_attachment/DUFX1-F1%20Manual-FED6A88D-01BE-50EC-379C-8EDDF51540AA.pdf | N/A | N/A | The Dynasonics UFX ultrasonic flow meter is a handheld Doppler flow meter. The Dynasonics UFX ultrasonic flow meter utilizes advanced ultrasonic technology, providing accurate and reliable flow velocity assessments in closed piping systems of 1/4 Inch (6 mm) and higher. The Dynasonics UFX ultrasonic flow meter employs a non-invasive, hand-held transducer which is placed on the outside of the pipe. Within seconds, the large LCD provides stable readings in feet per second or meters per second. The Dynasonics UFX ultrasonic flow meter operates on metal or plastic pipes containing liquids with greater than 100 ppm of 100 micron size suspended solids or entrained gases. The Dynasonics UFX ultrasonic flow meter measures fluid velocities from 0.3 - 30 fps (0.1 - 9 mps) with a 100:1 turndown ratio. +/-2% full scale accuracy 0 - 95% non-condensing 6.6 ft cable Trans-phase measuring technology provides accurate flow velocity assessments in closed piping systems Piezoelectric transducers transmit and receive an acoustic signal reflected off discontinuities in a liquid flow stream Compares transmitted and received frequencies and calculates a shift value, the magnitude of which is proportional to the liquid's flow velocity Measures flow of both clean and dirty liquids Non-invasive, clamp-on, plated Ultem 1000 sensor transducer Portable or permanent installations Media - liquids containing a minimum of 100 ppm of useful sonic suspended reflectors | Edmonton | Dynasonics | DUFX1-F1 | 3,555.07 | 146791
111 | Energy Efficiency Kits | Ultrasonic Flowmeter | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Dynasonics | DUFX1-F1 | 3,555.07 | 146794
112 | Energy Efficiency Kits | Ultrasonic Flowmeter | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Dynasonics | DUFX1-F1 | 3,555.07 | 146797
113 | Energy Efficiency Kits | Ultrasonic Flowmeter | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Dynasonics | DUFX1-F1 | 3,555.07 | 146800
001 | Energy Efficiency Kits | Ultrasonic Leak Detector | #VALUE! | https://d2z7x98lxvbza7.cloudfront.net/resources/TMULD-300_ULD-300_Ultrasonic-Leak-Detectors_Manual.pdf%3F_ga%3D2.103830153.849264497.1567389016-1245258330.1566524400 | N/A | https://youtu.be/LrLWstMgVvA | When leaks occur they often generate an ultrasonic frequency that is beyond human hearing. Amprobe’s ULD-300 converts these sounds into an audible range for easy detection. The ULD-300 tests pressurized air lines, refrigeration systems, and steam lines for leaks. Specifications UT-300 ReceiverOperating temperature32 °F to 100 °FStorage temperature-40 °F to 150 °FWeight6.3 oz with batteryDimensions7.3 x 2.5 x 1 inFrequency response35 kHz to 45 kHz + 6 dbPower consumption22 mA at 9 Volts DCBattery life33 hours (9 V alkaline battery)PerformanceMeets the ASTM Standard: ASTM E1211-07Battery testLED color indicator (Green-Good; Red-Replace) | Edmonton | Amprobe | ULD-300 | 395.78 | 49260015 | 630 grams
002 | Energy Efficiency Kits | Ultrasonic Leak Detector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Amprobe | ULD-300 | 395.78 | 49260014 | 630 grams
004 | Energy Efficiency Kits | Ultrasonic Leak Detector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Amprobe | ULD-300 | 395.78 | 49260033 | 630 grams
005 | Energy Efficiency Kits | Ultrasonic Leak Detector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Amprobe | ULD-300 | 395.78 | 49260017 | 630 grams
007 | Energy Efficiency Kits | Ultrasonic Leak Detector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Amprobe | ULD-300 | 395.78 | 49260018 | 630 grams
008 | Energy Efficiency Kits | Ultrasonic Leak Detector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Amprobe | ULD-300 | 395.78 | 49260019 | 630 grams
006 | Energy Efficiency Kits | Ultrasonic Leak Detector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Amprobe | ULD-300 | 395.78 | 49260016 | 630 grams
003 | Energy Efficiency Kits | Ultrasonic Leak Detector | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | Amprobe | ULD-300 | 395.78 | 49260032 | 630 grams
165 | Energy Efficiency Kits | Voltage Converter Transformer - 110V/220V - Circuit Breaker Protection | #VALUE! | N/A | N/A | N/A | Heavy Duty Step Up/Down Voltage Converter Transformer (110/120V - 220/240V). CE Certified. Dual Circuit Breakers Protection for Each Voltage (120V & 220V). Heavy-duty cord with a standard US 3-prong plug. Use for use & industrial applications. 220 volt only universal outlet which accepts plugs from most countries. Circuit breakers protects the equipment against overload. This voltage transformer allows you to convert voltages from 110-120 volt up to 220-240 volt or from 220-240 volt down to 110-120 volt for both home use & industrial applications. Specification: - Converts/Transform Voltage: 110/120V to/from 220/240V - Efficiency Factor: 1.50 - Weight: 21 lbs - Dimensions: 13.5" x 10.2" x 6.5" Features: - This transformer features a heavy-duty cord with a standard US 3-prong plug. There are a total of three outputs on the front panel. Two are grounded 110V outputs designated for 120 volts with a US standard outlet and the only 220 volt universal outlet which accepts plugs from most countries. - Note : For safety reasons, it's recommended to use a Voltage Converter / Transformer that's max watts is at least 50% higher than your appliance. For example, if your appliance is rated at 100 watts, you need to buy a Transformer with a max power of at least 150 watts or greater. Some appliances, such as heating appliances, power tools, motors, laser printers and TVs, require 2-4 times more watts at start up than the printed rated wattage. - The T-5000 series also features circuit breakers which protect the equipment and the transformer against overload. With circuit breaker protection you'll never need to replace fuses. Note: - The maximum power ratings must not be exceeded by the appliance connected to the transformer. - To prevent damage and possible fire hazards, the fuse should be replaced with a slow-blow fuse(MDL) of the same ampere rating as the original if the fuse continues to blow, the transformer or the appliance connected to it may need repair. | Edmonton | YaeCCC | ST-5000 | 166.66 |  | 21 lbs
166 | Energy Efficiency Kits | Voltage Converter Transformer - 110V/220V - Circuit Breaker Protection | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | YaeCCC | ST-5000 | 166.66 |  | 21 lbs
167 | Energy Efficiency Kits | Voltage Converter Transformer - 110V/220V - Circuit Breaker Protection | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | YaeCCC | ST-5000 | 166.66 |  | 21 lbs
168 | Energy Efficiency Kits | Voltage Converter Transformer - 110V/220V - Circuit Breaker Protection | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | YaeCCC | ST-5000 | 166.66 |  | 21 lbs
124 | Energy Efficiency Kits | Voltage Probes - 15 KVP | #VALUE! | https://powersight.com/psblog/wp-content/uploads/2020/11/5KVPmanual.pdf | N/A | N/A | The KVP voltage probe allows direct connection between a PowerSight meter and 5,000 Vrms. The outputs from the probe connect directly to a PowerSight analyzer, allowing complete analysis of medium voltage power up to 5KV. | Edmonton | PowerSight | 15KVP
123 | Energy Efficiency Kits | Voltage Probes - 5 KVP | #VALUE! | https://powersight.com/psblog/wp-content/uploads/2020/11/15KVPmanual-1.pdf | N/A | N/A | The 15KVP voltage probe allows direct connection up to 15,000 Vrms (15KV) 3 phase power. Outputs from the probes connect directly to PowerSight analyzers, allowing complete analysis of medium voltage power systems up to 15KV. | Edmonton | PowerSight | 5KVP
142 | Data Logger CO2 Sensors | Voltage Sensor Cable - 10 VDC | #VALUE! | https://www.onsetcomp.com/files/manual_pdfs/12358-E%20MAN-ADAPxx-web.pdf https://www.onsetcomp.com/files/manual_pdfs/12358-E%20MAN-ADAPxx-web.pdf | N/A | N/A | CABLE-ADAP5 is a resistive voltage divider that allows sensor inputs of 5 VDC max. | Edmonton | HOBO | CABLE-ADAP10 | 53.76 |  | 0.5 lbs
143 | Data Logger CO2 Sensors | Voltage Sensor Cable - 10 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP10 | 53.76 |  | 0.5 lbs
144 | Data Logger CO2 Sensors | Voltage Sensor Cable - 10 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP10 | 53.76 |  | 0.5 lbs
145 | Data Logger CO2 Sensors | Voltage Sensor Cable - 10 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP10 | 53.76 |  | 0.5 lbs
146 | Data Logger CO2 Sensors | Voltage Sensor Cable - 10 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP10 | 53.76 |  | 0.5 lbs
147 | Data Logger CO2 Sensors | Voltage Sensor Cable - 10 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP10 | 53.76 |  | 0.5 lbs
148 | Data Logger CO2 Sensors | Voltage Sensor Cable - 10 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP10 | 53.76 |  | 0.5 lbs
141 | Data Logger CO2 Sensors | Voltage Sensor Cable - 10 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP10 | 53.76 |  | 0.5 lbs
150 | Data Logger CO2 Sensors | Voltage Sensor Cable - 25 VDC | #VALUE! | https://www.onsetcomp.com/files/manual_pdfs/12358-E%20MAN-ADAPxx-web.pdf https://www.onsetcomp.com/files/manual_pdfs/12358-E%20MAN-ADAPxx-web.pdf | N/A | N/A | CABLE-ADAP10 is a resistive voltage divider that allows sensor inputs of 5 VDC max. For use with UX120 and U12 Series. External input cable providing analog sensor input in the range of range 0 to 10 VDC. The cable has 0.5" (13mm) tinned braided wire leads and a total length 6 '. (1.8m). | Edmonton | HOBO | CABLE-ADAP25 | 53.76 |  | 0.5 lbs
151 | Data Logger CO2 Sensors | Voltage Sensor Cable - 25 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP25 | 53.76 |  | 0.5 lbs
152 | Data Logger CO2 Sensors | Voltage Sensor Cable - 25 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP25 | 53.76 |  | 0.5 lbs
153 | Data Logger CO2 Sensors | Voltage Sensor Cable - 25 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP25 | 53.76 |  | 0.5 lbs
154 | Data Logger CO2 Sensors | Voltage Sensor Cable - 25 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP25 | 53.76 |  | 0.5 lbs
155 | Data Logger CO2 Sensors | Voltage Sensor Cable - 25 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP25 | 53.76 |  | 0.5 lbs
156 | Data Logger CO2 Sensors | Voltage Sensor Cable - 25 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP25 | 53.76 |  | 0.5 lbs
149 | Data Logger CO2 Sensors | Voltage Sensor Cable - 25 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP25 | 53.76 |  | 0.5 lbs
134 | Data Logger CO2 Sensors | Voltage Sensor Cable - 5 VDC | #VALUE! | https://www.onsetcomp.com/files/manual_pdfs/12358-E%20MAN-ADAPxx-web.pdf https://www.onsetcomp.com/files/manual_pdfs/12358-E%20MAN-ADAPxx-web.pdf | N/A | N/A | CABLE-ADAP25 is a resistive voltage divider that allows sensor inputs of 25 VDC max. For use with UX120 and U12 Series. External input cable providing analog sensor input in the range of range 0 to 24 VDC. The cable has 0.5" (13mm) tinned braided wire leads and a total length 6 '. (1.8m). | Edmonton | HOBO | CABLE-ADAP5 | 53.76 | 2233445566 | 0.5 lbs
135 | Data Logger CO2 Sensors | Voltage Sensor Cable - 5 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP5 | 53.76 | 2233445566 | 0.5 lbs
136 | Data Logger CO2 Sensors | Voltage Sensor Cable - 5 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP5 | 53.76 | 2233445566 | 0.5 lbs
137 | Data Logger CO2 Sensors | Voltage Sensor Cable - 5 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP5 | 53.76 | 2233445566 | 0.5 lbs
133 | Data Logger CO2 Sensors | Voltage Sensor Cable - 5 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP5 | 53.76 | 2233445566 | 0.5 lbs
140 | Data Logger CO2 Sensors | Voltage Sensor Cable - 5 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP5 | 53.76 | 2233445566 | 0.5 lbs
138 | Data Logger CO2 Sensors | Voltage Sensor Cable - 5 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP5 | 53.76 | 2233445566 | 0.5 lbs
139 | Data Logger CO2 Sensors | Voltage Sensor Cable - 5 VDC | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | HOBO | CABLE-ADAP5 | 53.76 |  | 0.5 lbs
083 | Energy Efficiency Kits | Wireless AC/DC Current Module | #VALUE! | https://dam-assets.fluke.com/s3fs-public/a3001___cmeng0000.pdf https://dam-assets.fluke.com/s3fs-public/a3001fc_qreng0000.pdf https://myturn-prod-attachments.s3.amazonaws.com/0/1760/item/---/file_attachment/a3002fc_calibration%20manual-B069C383-22AB-8FAB-2202-FB29F5937C6C.pdf | N/A | N/A | The Fluke a3001 FC Wireless iFlex AC Current Module is a fully functional true-rms current meter that wirelessly relays measurements to the Fluke Connect mobile app. The a3001 puts the tool, not your body, near live electrical panels. Connect the a3001 FC current module and read the results on your smartphone from a safe distance. You can save and share measurements from the field with your team anytime, from anywhere. Isolating intermittent electrical faults easily Leave your a3001 connected to log measurements and walk away to address other issues. Download the data for further analysis on our phone. Record over time to monitor circuit load changes for an hour, a shift or a week. Use the Fluke Connect wireless USB adapter to collect logged data from remote modules by walking past a working module and downloading logged data. Faster and cheaper 3-phase testing When your cabinet is de-energized, attach a Fluke a3001 FC Wireless iFlex AC Current Module to each phase. Close, re-energize and start taking readings in 1/3 of the time. What used to take hours and use costly equipment can be done in minutes with an affordable Fluke Connect wireless system. Log, analyze, and diagnose easily You can solve problems faster by seeing live measurements from multiple test points on a single screen. Send data from the panel to your laptop and go from logging to analysis and diagnosis with the a3001 connected. Once you’ve gathered the measurements, you can perform for analysis with your PC and share the results using Fluke Cloud storage and ShareLive video call. Share and view data or graphs to get input from team members. | Edmonton | FLUKE | a3001 FC | 273.60 | 48840165WS | 0.255 kg (9 oz)
085 | Energy Efficiency Kits | Wireless AC/DC Current Module | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | a3001 FC | 273.60 | 48840158WS | 0.255 kg (9 oz)
084 | Energy Efficiency Kits | Wireless AC/DC Current Module | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | a3001 FC | 273.60 | 48840162WS | 0.255 kg (9 oz)
078 | Energy Efficiency Kits | Wireless AC/DC Current Module | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | a3001 FC | 273.60 | 48840161WS | 0.255 kg (9 oz)
079 | Energy Efficiency Kits | Wireless AC/DC Current Module | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | a3001 FC | 273.60 | 48840145WS | 0.255 kg (9 oz)
080 | Energy Efficiency Kits | Wireless AC/DC Current Module | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | a3001 FC | 273.60 | 48840149WS | 0.255 kg (9 oz)
081 | Energy Efficiency Kits | Wireless AC/DC Current Module | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | a3001 FC | 273.60 | 48840157WS | 0.255 kg (9 oz)
082 | Energy Efficiency Kits | Wireless AC/DC Current Module | Same as above | Same as above | Same as above | Same as above | Same as above | Edmonton | FLUKE | a3001 FC | 273.60 | 48840148WS | 0.255 kg (9 oz)